## Reagent List
Reagent | Brand | Reference Number
UltraPure DNase/RNase-Free Distilled Water | Invitrogen | 10977-015
BisTris | Sigma-Aldrich | B9754-500G
Pluronic F127 | Sigma-Aldrich | P2443-250G
Sodium Hydroxide | Sigma-Aldrich | 795429-500G
1M MOPS | Sigma-Aldrich | M1442-100ML
0.5M EGTA | bioWORLD | 40520008-1
6M HCl | Fisher BioReagents | SA56-500
Methanol | Sigma-Aldrich | 322415-1L
Acetone | Sigma-Aldrich | 650501-1L
Triton X-100 | Sigma-Aldrich | 93443-100ML
Polyvinylpyrrolidone (PVP) | Sigma-Aldrich | P5288-100G
5M NaCl | Sigma-Aldrich | S5150-1L
5M MgCl2 | Sigma-Aldrich | 63069-100ML
5M CaCl2 | Sigma-Aldrich | 21115-100ML
100 mM DTT | Sigma-Aldrich | 4381643816-10ML
Cycloheximide | Sigma-Aldrich | C4859-1ML
Urea | Fisher BioReagents | BP169-500
2,2'-Azobis[2-methyl-N-(2-hydroxyethyl)propionamide] (VA-086) | Wako | 013-19342
40% acrylamide/bisacrylamide | Sigma-Aldrich | A9926-100ML
Benzophenone | Sigma-Aldrich | B9300-500G-A
Micrococcal Nuclease | New England Biolabs | M0247S
Slygard 184 PDMS monomer and curing agent | Ellsworth | 184 SIL ELAST KIT 0.5KG
Phosphate Buffered Saline | Sigma-Aldrich | D8537-100ML
RNaseZap | Sigma-Aldrich | R2020-250ML
T4 Polynucleotide Kinase | New England Biolabs | M0201L
Ampure XP beads | Beckman Coulter | A63880
D-Plex Small RNA-seq Kit for Illumina (24 rxn) | Diagenode | C0503001
D-Plex Unique Dual Indexes for Illumina - Set A (24 rxn) | Diagenode | C05030021
10x TBE | Fisher BioReagents | BP13334
Ethanol | Sigma-Aldrich | E7023-1L
GlycoBlue | Invitrogen | AM9515
3M Sodium Acetate, pH 5.2 | EMD Millipore | 567422-100ML
0.5M EDTA | IBI Scientific | IB70184
20% SDS | Fisher BioReagents | BP1311-200
10x TBE | Fisher BioReagents | BP1333-1
15% TBE Urea Gel | Invitrogen | EC6885BOX
High Sensitivity DNA BioAnalyzer Kit | Agilent Technologies | 5067-4626
3% Blue Pippin Cassette | Sage Science | BDQ3010
True-Cut Disposable Biopsy Punch 5mm | Robbins Instruments | RBP-50
36 nt fluorescent DNA Marker | IDT | NA
19 nt fluorescent DNA Marker | IDT | NA

## Oligos
Oligos | Manufacturer | Concentration | Purification Method | 5' Modification | 3' Modification | Sequence
36 nt fluorescent DNA Marker | IDT | 100 nmole | Dual HPLC | ATTO488N | ddC | /5ATTO488N/CCTCCTTGTATAAATCCTGGTTGCTGTCTCTTTAT/3ddC/
19 nt fluorescent DNA Marker | IDT | 100 nmole | Dual HPLC | ATTO488N | ddC | /5ATTO488N/CTGCTGGAGTTCGTGACC/3ddC/

## Equipment
Equipment | Brand | Reference Number
UV Light Source | ProteinSimple | AT126D
Chip Molds | Protolabs | -
Plasma Cleaner | Harrick Plasma | PDC-001
Vacuum Gauge and Digital Meter 115V | Harrick Plasma | PDC-VCG
IDP-3 scroll pump, 1 phase, 115 V, 60 Hz | Agilent | IDP3B01
Dark Reader Transilluminator | Clare Chemical Research | DR46B
2410 110V SourceMeter | Keithley | 62W3300
2100 BioAnalyzer Instrument | Agilent Technologies | G2939BA
Blue Pippin System | Sage Science | NA
Thermal Mixer with Blocks | Thermo Scientific | 13-687-712
Mastercycler X50s | Eppendorf | 61311000010
Mini Centrifuge | Crystal Technologies | MLX-106
Vortexer | DLab | 8031102000